advanech.jpg

Software Specification

Modbus TCP Slave for POC

( For Reyax LoRa Sensor Node only)

**Revision History**

|  |  |  |  |
| --- | --- | --- | --- |
| **Revision** | **Date** | **Notes** | **Owner** |
| 1.0 | 2018/08/17 | First version | Luke.Su |

1. **Customer’s requirement**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Project (\*)** | Modbus TCP Slave for POC | **Apply Date (\*)** | | 2018/08/16 | |
| **Customer (\*)** | Hyundai | **Business (\*)** | | NRE | |
| **PM (\*)** | Brook.Lee | **AE (\*)** | | Ray.Liu | |
| **Platform** | UTX-3117 | **OS (\*)** | | Ubuntu 16.04 x64 | |
| **Peripheral** | **Name** | **Purpose** | | | |
| Integrator board | Connect the turnstile with MIO-2360 | | | |
|  |  | | | |
| **User /**  **Functional Requirements** | **Description** | | **Evaluate Solution** | | **Version** |
| SCADA would get LoRa node sensor data from UTX-3117 by Modbus TCP | | Modbus TCP Slave | | 1.0 |
| Fixed LoRa sensor data as below picture. | | Hardcode for this POC | | 1.0 |
|  | |  | |  |
|  | |  | |  |
|  | |  | |  |
| **Others** | | | | | |
|  | | | | | |
|  | | | | | |

**(\*): Must**

1. **Software Specification**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| We will provide a Modbus TCP slave convert fixed Reyax’s LoRa Node sensor board only.  Information of integrated Reyax LoRa module for this POC demo as below.   |  |  |  |  | | --- | --- | --- | --- | | Item | Reyax LoRa Solution | Firmware Version | Note | | 1 | Mini-PCIe LoRa module | RYLRxxP\_V0.1.28 | Reyax LoRa Manager | | 2 | LoRa Node type # 1 | RYLRxx6\_V0.120 | Reyax LoRa SenHub | | 3 | I/O Board | RYLRxxE\_V0.1.11 | Sensor Board:  Temperaturex1, Humidityx1, Input x 2, Relay x 5,ADC x 1 | |

1. **Functional Specification**

|  |  |  |
| --- | --- | --- |
| **Item** | **Name** | **Description** |
| 1 | Convert data format to Modbus TCP | To get LoRa sensor data and convert to Modbus TCP data format |
| 2 | Modbus TCP Slave | SCADA can acquire LoRa sensor data by Modbus TCP protocol. |
| 3 | Set relay by Modbus TCP | User can set LoRa node relay by Modbus TCP protocol. |
| 4 | Configuration | 1. LoRa node unique id mapping to Modbus TCP slave id. 2. Sensor data mapping to Modbus address and length. |

1. **Efforts of Software Development/Customization**

|  |  |  |
| --- | --- | --- |
| **Tasks** | **Comment** | **Man-days** |
| Feasibility Evaluation | Technique study & SW specification | 2 |
| Design | Design data format and SW architecture. | 2 |
| Implement & Release | Implement & Release | 6 |
| **Total** |  | **10** |

1. **Signature**

|  |  |  |
| --- | --- | --- |
| **Customer:**  Company: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  By (Signature): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  Name (Print): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  Title:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  Address:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  Anticipated Annual Quantities: \_\_\_\_\_ | **Approve by:** | **Advantech Co., Ltd.**  **Name(Print):**  **Title:**  **Address**:  2F., No.27, Wende Rd., Guishan Dist., Taoyuan City 333, Taiwan, R.O.C  **Tel**: 886-2-2792-7818 |
| **Comments:** |